F30	ACCESSORIES / SUNDRY ITEMS FOR BRICK / BLOCK / STONE WALLING

To be read with Preliminaries / General conditions.

FLEXIBLE DAMP PROOF COURSES / CAVITY TRAYS

F30/370	PREFORMED CAVITY TRAYS

- Manufacturer : RIW Ltd, 487/488 Ipswich Road, Slough, Berkshire SL1 4EQ

Tel : +44 1753 944200

E-mail : technical@riw.co.uk

Web : www.riw.co.uk

- 	Product references and locations : RIW Sheetseal 9000 DPC

  - Column Cloak Cavity Tray.

  - Bullseye Window Cavity Tray.

  - Arch - window Cavity Tray.

- Placement : To provide a free draining and watertight installation.

F30/380	PREFORMED DPC / CAVITY TRAY JUNCTION CLOAKS / STOP ENDS

- Manufacturer : RIW Ltd, 487/488 Ipswich Road, Slough, Berkshire SL1 4EQ

Tel : +44 1753 944200

E-mail : technical@riw.co.uk

Web : www.riw.co.uk

- Product references and locations : RIW Sheetseal 9000 DPC

- Full Height, RH stop end unit.

- Full Height, LH stop end unit.

- 75mm  high (sloping), RH stop end unit.

- 75mm  high (sloping), LH stop end unit.

- Corner unit.

- 75mm step multi hand change level unit.

- 150mm step multi hand change level unit.

- 225mm step multi hand change level unit.

- Placement : To provide a free draining and watertight installation. Seal laps with DPC’s and / or cavity trays.

F30/385	PREFORMED DPC / CAVITY TRAY JUNCTION CLOAKS / STOP ENDS

- Manufacturer : RIW Ltd, 487/488 Ipswich Road, Slough, Berkshire SL1 4EQ

Tel : +44 1753 944200

E-mail : technical@riw.co.uk

Web : www.riw.co.uk

-	Product references and locations : As shown on drawings.

- Placement: Seal laps with DPC’s and / or cavity trays.